## Instructions
Electrical Panel Schedule Template
Purpose
This workbook records one 120/208 V, 3-phase, 4-wire panelboard circuit by circuit: what each breaker feeds, its size and poles, and the load you assign to each pole in VA. Each space is given its phase from its circuit number, so the workbook totals the connected load per phase, shows the highest phase and the imbalance, and prints a directory card for the panel door. It is a record of the loads you enter. It is not a load calculation, and breaker sizing and code questions belong to the electrician of record. Replace the synthetic sample panel with your own.
Clean-room disclosure
Clean-room disclosure: every formula, layout, instruction, and sample figure in this workbook was authored from scratch for Field Service Software IO. No vendor workbook, gated template, branding, or sample dataset was downloaded, inspected, mirrored, transformed, or adapted in building this file. All names, circuits, loads, and figures shown are synthetic and for illustration only.
What’s in this workbook
Panel |  | The schedule. Header fields at the top (panel name, location, fed from, phase-to-neutral volts, line-to-line volts, main breaker or bus rating, number of spaces), then one row per space for circuits 1 to 42: description, breaker amps, poles and the load on that pole in VA. Phase, equivalent amps and Row check are calculated.
Directory |  | A printable door card: odd circuits on the left, even on the right, each with its description, breaker amps and poles, read from Panel by circuit number. Type the date you last updated it.
Dashboard |  | Connected load, the load on phases A, B and C, the highest phase in equivalent amps, the phase imbalance, spaces with load, spare breakers, empty spaces, and the Rows to check and Data check cells.
How to use this workbook
1. If your spreadsheet app opens the file read-only, turn on editing so the formulas calculate.
2. On Panel, fill in the header: panel name, location, what feeds it, the phase-to-neutral and line-to-line volts, the main breaker or bus rating in amps, and the number of spaces (an even number from 2 to 42).
3. Clear the sample circuits (columns B to E) and enter your own, one row per space. Odd circuits sit on the left of the panel and even circuits on the right. Leave the Circuit # column as it is.
4. For each breaker, type its amps and its poles (1, 2 or 3) on the row of its first circuit, and the load on that pole in VA.
5. A 2-pole breaker on circuit n also uses circuit n+2, and a 3-pole breaker uses n+2 and n+4 (the same side of the panel). On those continuation rows leave Breaker amps and Poles blank, type a description such as "(second pole)", and type the load on that pole in VA.
6. For a spare breaker, type its amps and poles and a load of 0. Leave unused spaces blank.
7. Read the phase totals, the highest phase and the imbalance on Dashboard. Move a circuit to another space and the totals follow.
8. Fix every Row check that is not OK, then confirm Rows to check on Dashboard reads 0. Every Dashboard figure reads Check data until it does.
9. On Directory, type the date you last updated the schedule, then print the sheet for the panel door.
Colour legend
Colour legend
Input — enter or edit your own data here
Calculated — formula-driven, please do not overwrite
Output — key result for reporting and dashboards
Using this workbook in Google Sheets
To use this workbook in Google Sheets: open Google Sheets, choose File > Import > Upload, select this .xlsx file, and choose Insert new sheet(s). The workbook has no macros. Formatting and dropdowns can differ, so check the results, dropdowns and colors after import.
Limitations
This is a record of connected load as you enter it, not a load calculation: it applies no demand factors and makes no comparison with the main breaker or bus rating, which is recorded on Panel for reference only. Equivalent amps are VA divided by the phase-to-neutral volts, a figure for balancing the phases, not a measured line current; the real line current of a 208 V two-pole or three-pole load is different. Breaker sizing, conductor sizing and code compliance are questions for the electrician of record. The layout covers one 120/208 V, 3-phase, 4-wire panelboard with odd circuits on the left and even circuits on the right; single-phase 120/240 V panels and 277/480 V panels are not modeled. The sheet holds up to 42 spaces, rows 10 to 51 on Panel. Use one copy of the workbook per panel.
Free template from Field Service Software IO: browse more free field service templates →

## Panel
Panel name | LP-1 | The name on the panel cover. Shown on Directory.
Location | Warehouse, north wall (sample) | Where the panel is. Shown on Directory.
Fed from | MDP-1, circuit 4 (sample) | The upstream panel and circuit. Shown on Directory.
Volts, phase-to-neutral | 120 | Used to turn VA into equivalent amps for balancing (1 to 1,000).
Volts, line-to-line | 208 | Recorded for the directory (1 to 1,000).
Main or bus rating (A) | 225 | Recorded for reference only (0 to 5,000). Nothing is compared with it.
Spaces | 30 | Number of circuit spaces: an even number from 2 to 42.
Circuit # | Description | Breaker amps | Poles | Load on this pole (VA) | Phase | Equivalent amps on this pole (VA ÷ phase-to-neutral volts, for balancing; not a measured line current) | Row check
1 | Lighting - sales floor | 20 | 1 | 1440 | A | 12 | OK
2 | Receptacles - office | 20 | 1 | 1080 | A | 9 | OK
3 | Lighting - warehouse | 20 | 1 | 1800 | B | 15 | OK
4 | Receptacles - break room | 20 | 1 | 1500 | B | 12.5 | OK
5 | Exterior lighting | 20 | 1 | 960 | C | 8 | OK
6 | Water heater | 30 | 2 | 2250 | C | 18.75 | OK
7 | RTU-1 | 40 | 3 | 2900 | A | 24.1667 | OK
8 | Water heater (second pole) |  |  | 2250 | A | 18.75 | OK
9 | RTU-1 (second pole) |  |  | 2900 | B | 24.1667 | OK
10 | Refrigerator / freezer | 20 | 1 | 1200 | B | 10 | OK
11 | RTU-1 (third pole) |  |  | 2900 | C | 24.1667 | OK
12 | Server closet | 20 | 1 | 1600 | C | 13.3333 | OK
13 | Exhaust fan EF-1 | 15 | 1 | 720 | A | 6 | OK
14 | Spare | 20 | 1 | 0 | A | 0 | OK
15 | Receptacles - warehouse | 20 | 1 | 1260 | B | 10.5 | OK
16 | Overhead door opener | 20 | 1 | 840 | B | 7 | OK
17 | Spare | 20 | 1 | 0 | C | 0 | OK
18 | Sign | 20 | 1 | 600 | C | 5 | OK
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42

## Directory
Panel directory
Panel | LP-1 |  |  | Main (A) | 225
Location | Warehouse, north wall (sample) |  |  | Volts | 120/208 V, 3-phase, 4-wire
Fed from | MDP-1, circuit 4 (sample) |  |  | Spaces | 30
Last updated | 2026-11-02
Ckt | Description | Amps | Poles | Ckt | Description | Amps | Poles
1 | Lighting - sales floor | 20 | 1 | 2 | Receptacles - office | 20 | 1
3 | Lighting - warehouse | 20 | 1 | 4 | Receptacles - break room | 20 | 1
5 | Exterior lighting | 20 | 1 | 6 | Water heater | 30 | 2
7 | RTU-1 | 40 | 3 | 8 | Water heater (second pole)
9 | RTU-1 (second pole) |  |  | 10 | Refrigerator / freezer | 20 | 1
11 | RTU-1 (third pole) |  |  | 12 | Server closet | 20 | 1
13 | Exhaust fan EF-1 | 15 | 1 | 14 | Spare | 20 | 1
15 | Receptacles - warehouse | 20 | 1 | 16 | Overhead door opener | 20 | 1
17 | Spare | 20 | 1 | 18 | Sign | 20 | 1
19 |  |  |  | 20
21 |  |  |  | 22
23 |  |  |  | 24
25 |  |  |  | 26
27 |  |  |  | 28
29 |  |  |  | 30

## Dashboard
Electrical Panel Schedule Template
Connected load as entered on Panel. A record for balancing phases, not a load calculation.
Metric | Result | How it is calculated
Connected load (VA) | 26200 | Every VA typed on Panel, all three phases.
Phase A load (VA) | 8390 | VA on spaces whose Phase is A (circuits 1-2, 7-8, 13-14 and so on).
Phase B load (VA) | 9500 | VA on spaces whose Phase is B (circuits 3-4, 9-10, 15-16 and so on).
Phase C load (VA) | 8310 | VA on spaces whose Phase is C (circuits 5-6, 11-12, 17-18 and so on).
Highest phase load (equivalent amps) | 79.1667 | Largest phase VA ÷ phase-to-neutral volts. For balancing; not a measured line current.
Phase imbalance | 8.779% | Largest gap between one phase and the average of the three, ÷ that average. n/a with no load. Not a code limit.
Average phase load (equivalent amps) | 72.7778 | Connected load ÷ 3 ÷ phase-to-neutral volts.
Highest phase share of connected load | 36.26% | Largest phase VA ÷ connected load. A perfectly even panel reads 33.3%. n/a with no load.
Spaces with load | 16 | Spaces with a load above 0 VA, continuation poles included.
Spare breakers | 2 | Breakers with amps entered and no load on their row.
Empty spaces | 12 | Spaces on Panel minus the rows with anything typed in them.
Rows to check | 0 | Panel rows whose Row check is not OK, plus any Panel header setting (volts, rating, spaces) that is blank or out of range.
Data check | OK | Reads OK only when Rows to check is 0. Do not rely on the figures above until it does.
Phase | Load (VA) | Equivalent amps | Share of connected load
Phase A | 8390 | 69.9167 | 32.02%
Phase B | 9500 | 79.1667 | 36.26%
Phase C | 8310 | 69.25 | 31.72%
Free template from Field Service Software IO: browse more free field service templates →