## Instructions
Fire Extinguisher Inspection Checklist and Log
Purpose
This workbook keeps a register of your fire extinguishers by location and type, and one running log of every check done on them: monthly checks, maintenance, internal examinations and hydrostatic tests. You set the interval for each check on the Types sheet. For every extinguisher the workbook finds the last date of each check type, adds the interval for its type, and shows the earliest result as Next due, with an Overdue or Due soon status. A failed check stays an open deficiency until its follow-up is Closed. Replace the synthetic sample types, extinguishers and checks with your own.
Clean-room disclosure
Clean-room disclosure: every formula, layout, instruction, and sample figure in this workbook was authored from scratch for Field Service Software IO. No vendor workbook, gated template, branding, or sample dataset was downloaded, inspected, mirrored, transformed, or adapted in building this file. All locations, names, dates and intervals shown are synthetic and for illustration only.
What’s in this workbook
Types |  | One row per extinguisher type: a short code, a description, and how often each check comes due (monthly check and maintenance in days, internal examination and hydrostatic test in years; leave internal blank for a type that has none). The intervals are sample values: set these from the edition of NFPA 10 your fire authority enforces and the manufacturer's instructions.
Extinguishers |  | The register: one row per extinguisher with its unit ID, location, type code, size and manufacture date. The last date of each check, the four next-due dates, Next due, Days to due, Next check, Status and open deficiencies are calculated.
Inspection Log |  | One row per check: date, unit ID, check type (Monthly, Maintenance, Internal or Hydrostatic), inspector, Pass or Fail, the deficiency found, and its follow-up (Open or Closed). Column I is a helper column the formulas read; leave it as it is.
Dashboard |  | The as-of date and the due-soon window, plus extinguishers overdue and due soon, open deficiencies, checks logged, the pass rate, and the data checks.
How to use this workbook
1. If your spreadsheet app opens the file read-only, turn on editing so the formulas calculate.
2. On Dashboard, set the as-of date and the due-soon window in days. The sample as-of date is typed so the sample numbers stay fixed. Type =TODAY() in that cell when you start using the log for real.
3. On Types, replace the sample intervals with your own: set them from the edition of NFPA 10 your fire authority enforces and the manufacturer's instructions. Monthly check runs 1 to 366 days, maintenance 1 to 3,660 days, internal examination and hydrostatic test 1 to 50 years, all whole numbers. Leave internal examination blank for a type that has none.
4. On Extinguishers, replace the sample rows with your units. Keep each Unit ID unique, because Inspection Log uses it as the key. Any ID format works, such as tag numbers or site codes. Pick the type code from the dropdown and enter the manufacture date in Date made; until a check is logged, each next-due date counts from it.
5. On Inspection Log, clear the sample rows and add one row per check with its date, unit ID, check type and result. When a check fails, describe the deficiency and set Follow-up to Open, then change it to Closed once the problem is fixed.
6. Fix every Row check that is not OK. Dates must be real dates, and a check cannot be dated before the unit's manufacture date.
7. Every Dashboard figure except Extinguishers reads Check data, and Status on Extinguishers reads Check data, until Data check on Dashboard reads OK.
Color legend
Color legend
Input — enter or edit your own data here
Calculated — formula-driven, please do not overwrite
Output — key result for reporting and dashboards
Using this workbook in Google Sheets
To use this workbook in Google Sheets: open Google Sheets, choose File > Import > Upload, select this .xlsx file, and choose Insert new sheet(s). The workbook has no macros. Formatting can differ, so check the results, dropdowns and colors after import.
Limitations
This workbook does not say which checks your extinguishers need or how often. The intervals on Types are the ones you enter. It does not print inspection tags, capture photos or signatures, or send reminders. Each type has one interval per check type, and a logged check moves only that check type's next due date. The log holds up to 20 types, 300 extinguishers and 2,000 checks: formulas and dropdowns stop at row 21 on Types, row 301 on Extinguishers and row 2001 on Inspection Log.
Free template from Field Service Software IO: browse more free field service templates →

## Types
Type code | Description | Monthly check every (days) | Maintenance every (days) | Internal examination every (years) | Hydrostatic test every (years) | Row check | Sample values: set these from the edition of NFPA 10 your fire authority enforces and the manufacturer's instructions. Leave Internal examination blank for a type that has none.
ABC-SP | Stored-pressure dry chemical | 30 | 365 | 6 | 12 | OK
CO2 | Carbon dioxide | 30 | 365 |  | 5 | OK
K | Wet chemical | 30 | 365 |  | 5 | OK

## Extinguishers
Unit ID | Location | Type | Size | Date made | Last monthly | Last maint. | Last internal | Last hydro test | Next monthly | Next maint. | Next internal | Next hydro test | Next due | Days to due | Next check | Status | Open deficiencies | Row check
FE-01 | Shop entrance | ABC-SP | 10 lb | 2019-04-15 | 2026-10-05 | 2026-03-12 | 2019-04-15 | 2019-04-15 | 2026-11-04 | 2027-03-12 | 2025-04-15 | 2031-04-15 | 2025-04-15 | -566 | Internal | Overdue | 0 | OK
FE-02 | Warehouse east wall | ABC-SP | 20 lb | 2021-08-01 | 2026-10-05 | 2025-11-20 | 2021-08-01 | 2021-08-01 | 2026-11-04 | 2026-11-20 | 2027-08-01 | 2033-08-01 | 2026-11-04 | 2 | Monthly | Due soon | 1 | OK
FE-03 | Server closet | CO2 | 10 lb | 2022-02-10 | 2026-09-21 | 2026-05-02 | 2022-02-10 | 2022-02-10 | 2026-10-21 | 2027-05-02 |  | 2027-02-10 | 2026-10-21 | -12 | Monthly | Overdue | 0 | OK
FE-04 | Kitchen line | K | 6 L | 2023-06-20 | 2026-10-05 | 2026-06-15 | 2023-06-20 | 2023-06-20 | 2026-11-04 | 2027-06-15 |  | 2028-06-20 | 2026-11-04 | 2 | Monthly | Due soon | 0 | OK
FE-05 | Office hallway | ABC-SP | 5 lb | 2014-03-01 | 2026-10-05 | 2026-01-08 | 2020-03-02 | 2014-03-01 | 2026-11-04 | 2027-01-08 | 2026-03-02 | 2026-03-01 | 2026-03-01 | -246 | Hydrostatic | Overdue | 0 | OK
FE-06 | Loading dock | ABC-SP | 10 lb | 2025-01-12 | 2026-10-28 | 2026-01-10 | 2025-01-12 | 2025-01-12 | 2026-11-27 | 2027-01-10 | 2031-01-12 | 2037-01-12 | 2026-11-27 | 25 | Monthly | OK | 0 | OK
Formulas:
Last monthly = IF(OR([Unit ID]="",[Row check]<>"OK"),"",MAX([Date made],SUMPRODUCT(MAX(('Inspection Log'!$B2:B2001=[Unit ID])*('Inspection Log'!$C2:C2001="Monthly")*'Inspection Log'!$I2:I2001))))
Last maint. = IF(OR([Unit ID]="",[Row check]<>"OK"),"",MAX([Date made],SUMPRODUCT(MAX(('Inspection Log'!$B2:B2001=[Unit ID])*('Inspection Log'!$C2:C2001="Maintenance")*'Inspection Log'!$I2:I2001))))
Last internal = IF(OR([Unit ID]="",[Row check]<>"OK"),"",MAX([Date made],SUMPRODUCT(MAX(('Inspection Log'!$B2:B2001=[Unit ID])*('Inspection Log'!$C2:C2001="Internal")*'Inspection Log'!$I2:I2001))))
Last hydro test = IF(OR([Unit ID]="",[Row check]<>"OK"),"",MAX([Date made],SUMPRODUCT(MAX(('Inspection Log'!$B2:B2001=[Unit ID])*('Inspection Log'!$C2:C2001="Hydrostatic")*'Inspection Log'!$I2:I2001))))
Next monthly = IF(OR([Unit ID]="",[Row check]<>"OK"),"",[Last monthly]+SUMPRODUCT(--(Types!$A2:A21=[Type]),Types!$C2:C21))
Next maint. = IF(OR([Unit ID]="",[Row check]<>"OK"),"",[Last maint.]+SUMPRODUCT(--(Types!$A2:A21=[Type]),Types!$D2:D21))
Next internal = IF(OR([Unit ID]="",[Row check]<>"OK"),"",IF(SUMPRODUCT((Types!$A2:A21=[Type])*(Types!$E2:E21<>""))=0,"",EDATE([Last internal],12*SUMPRODUCT(--(Types!$A2:A21=[Type]),Types!$E2:E21))))
Next hydro test = IF(OR([Unit ID]="",[Row check]<>"OK"),"",EDATE([Last hydro test],12*SUMPRODUCT(--(Types!$A2:A21=[Type]),Types!$F2:F21)))
Next due = IF(OR([Unit ID]="",[Row check]<>"OK"),"",MIN([Next monthly]:[Next hydro test]))

## Inspection Log
Date | Unit ID | Check type | Inspector | Result | Deficiency | Follow-up | Row check | Helper: date
2026-10-05 | FE-01 | Monthly | Jordan | Pass |  |  | OK | 2026-10-05
2026-03-12 | FE-01 | Maintenance | R. Patel | Pass |  |  | OK | 2026-03-12
2026-10-05 | FE-02 | Monthly | Jordan | Fail | Gauge in red | Open | OK | 2026-10-05
2025-11-20 | FE-02 | Maintenance | R. Patel | Pass |  |  | OK | 2025-11-20
2026-09-21 | FE-03 | Monthly | Jordan | Pass |  |  | OK | 2026-09-21
2026-05-02 | FE-03 | Maintenance | R. Patel | Pass |  |  | OK | 2026-05-02
2026-10-05 | FE-04 | Monthly | Jordan | Pass |  |  | OK | 2026-10-05
2026-06-15 | FE-04 | Maintenance | R. Patel | Pass |  |  | OK | 2026-06-15
2026-10-05 | FE-05 | Monthly | Jordan | Fail | Blocked access, cleared | Closed | OK | 2026-10-05
2026-01-08 | FE-05 | Maintenance | R. Patel | Pass |  |  | OK | 2026-01-08
2020-03-02 | FE-05 | Internal | R. Patel | Pass |  |  | OK | 2020-03-02
2026-10-28 | FE-06 | Monthly | Jordan | Pass |  |  | OK | 2026-10-28
2026-01-10 | FE-06 | Maintenance | R. Patel | Pass |  |  | OK | 2026-01-10
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Formulas:
Helper: date = IF(AND(ISNUMBER([Date]),N([Date])>=18264,N([Date])<=73050),[Date],0)

## Dashboard
Fire Extinguisher Inspection Checklist and Log
Inputs | Value | What it does
As-of date | 2026-11-02 | Days to due count from this date. Type =TODAY() to keep it current.
Due-soon window (days) | 14 | A unit due within this many days shows Due soon (0 to 366).
Metric | Result | How it is calculated
Extinguishers | 6 | Rows with a Unit ID on Extinguishers.
Overdue | 3 | Units whose next due date is before the as-of date.
Due soon | 2 | Units due within the due-soon window and not yet overdue.
Open deficiencies | 1 | Failed checks whose follow-up is not Closed.
Checks logged | 13 | Rows with a Unit ID on Inspection Log.
Pass rate | 84.62% | Checks marked Pass, as a share of checks logged. Shows n/a with none.
Rows to check | 0 | Rows on Types, Extinguishers and Inspection Log whose Row check is not OK, plus any setting above that is blank or out of range.
Data check | OK | Do not rely on Status or the figures above until this reads OK.
Free template from Field Service Software IO: browse more free field service templates →