## Instructions
HVAC Sequence of Operations Template
Purpose
This workbook documents how a building's HVAC equipment should run: an equipment list, a point list with occupied and unoccupied setpoints and alarm limits, a weekly occupancy schedule, and numbered sequence steps for each mode. It checks every setpoint against its own alarm limits, works out occupied hours per week, and shows which equipment still has no written sequence. It documents a sequence; it does not design one. The sample setpoints, limits and times are placeholders: replace them with the design engineer's or owner's values.
Clean-room disclosure
Clean-room disclosure: every formula, layout, instruction and sample figure in this workbook was authored from scratch for Field Service Software IO. No vendor workbook, gated template, branding or sample dataset was downloaded, inspected, mirrored, transformed or adapted in building this file. All tags, points and values shown are synthetic and for illustration only.
What’s in this workbook
Equipment |  | One row per tagged unit: tag, equipment, what it serves and its controller. Points, sequence steps and occupied hours per week are counted from the other sheets. Row check flags a missing or repeated tag.
Points |  | The point list: point ID, equipment tag, point name, type (AI, AO, BI, BO), units, occupied and unoccupied setpoints, low and high alarm limits and alarm delay. Setpoint check flags a setpoint outside its alarm band or limits typed the wrong way round.
Schedule |  | Occupied start and end times for each tag and day group (Weekdays, Saturday, Sunday, Holiday). Hours per week are calculated. One row per tag and day group.
Sequences |  | Numbered steps for each tag and mode (Occupied, Unoccupied, Morning warm-up, Economizer, Safety, Alarm), with the points each step uses.
Dashboard |  | Counts of equipment, points, analog points and alarmed points, setpoint conflicts, occupied hours for the first two units, steps written, equipment without a sequence, and Rows to check.
How to use this workbook
1. Open Equipment and replace the sample units with your own tags. Keep each tag unique, because the other sheets look it up.
2. Open Points and list each control point with its equipment tag, type and units. Type setpoints and alarm limits as plain numbers. Leave a cell blank when a point has no setpoint or no limit; blanks are skipped, never read as zero.
3. Open Schedule and enter the occupied start and end time for each tag and day group, as times such as 6:30 and 18:00. Use one row per tag and day group.
4. Open Sequences and write the steps for each tag and mode, numbered 1, 2, 3 within the mode. Name the points each step uses.
5. Check Dashboard. Rows to check must read 0 and Data check must read OK; until then the counts read "Check data". Fix any row whose Row check is not OK.
6. If your spreadsheet app opens the file read-only, turn on editing before you type.
Colour legend
Colour legend
Input — enter or edit your own data here
Calculated — formula-driven, please do not overwrite
Output — key result for reporting and dashboards
Using this workbook in Google Sheets
To try it in Google Sheets, choose File > Import > Upload, select this .xlsx file, and choose Insert new sheet(s). The workbook has no macros. After the import, check that the Dashboard still shows the sample counts before you replace the sample data.
Limitations
This workbook documents a sequence; it does not design one, program a controller or connect to a building automation system. It does not recommend setpoints and cites no energy code. Schedules hold one occupied period per tag and day group, so split shifts are out of scope. Formulas and checks reach row 101 on Equipment, row 1001 on Points and Sequences, and row 201 on Schedule.
Free template from Field Service Software IO: browse more free field service templates →

## Equipment
Tag | Equipment | Serves | Controller | Points | Sequence steps | Occupied hours per week | Row check
AHU-1 | VAV air handler | 2nd floor offices | Field controller FC-1 | 5 | 6 | 62.5 | OK
RTU-2 | Packaged rooftop unit | Retail floor | Field controller FC-2 | 4 | 4 | 85 | OK
EF-1 | Toilet exhaust fan | Restrooms | Field controller FC-1 | 1 | 0 | 57.5 | OK
HWP-1 | Hot water pump | Building heating loop | Field controller FC-3 | 2 | 2 | 65 | OK

## Points
Point ID | Equipment tag | Point name | Type | Units | Occupied setpoint | Unoccupied setpoint | Low alarm | High alarm | Alarm delay (min) | Setpoint check | Row check
P-01 | AHU-1 | Supply air temperature | AI | degF | 55 | 55 | 48 | 65 | 10 | OK | OK
P-02 | AHU-1 | Duct static pressure | AI | in. w.c. | 1.5 | 1 | 0.5 | 2.5 | 5 | OK | OK
P-03 | AHU-1 | Supply fan command | BO | on/off | [5 empty] | OK | OK
P-04 | AHU-1 | Mixed air damper | AO | % open | 20 | 0 |  |  |  | OK | OK
P-05 | AHU-1 | Space temperature (zone 201) | AI | degF | 72 | 62 | 60 | 80 | 15 | OK | OK
P-06 | RTU-2 | Space temperature | AI | degF | 72 | 60 | 58 | 82 | 15 | OK | OK
P-07 | RTU-2 | Space CO2 | AI | ppm | 800 |  |  | 1100 | 10 | OK | OK
P-08 | RTU-2 | Supply air temperature | AI | degF | 55 | 55 | 45 | 60 | 10 | OK | OK
P-09 | EF-1 | Fan status | BI | on/off | [5 empty] | OK | OK
P-10 | HWP-1 | Loop supply temperature | AI | degF | 140 | 120 | 110 | 180 | 10 | OK | OK
P-11 | HWP-1 | Pump status | BI | on/off | [5 empty] | OK | OK
P-12 | RTU-2 | Return air temperature | AI | degF | 74 | 66 | 50 | 90 | 15 | OK | OK

## Schedule
Equipment tag | Day group | Occupied start | Occupied end | Days per week | Hours per week | Row check
AHU-1 | Weekdays | 6:30 | 18:00 | 5 | 57.5 | OK
AHU-1 | Saturday | 8:00 | 13:00 | 1 | 5 | OK
RTU-2 | Weekdays | 8:00 | 21:00 | 5 | 65 | OK
RTU-2 | Saturday | 9:00 | 21:00 | 1 | 12 | OK
RTU-2 | Sunday | 10:00 | 18:00 | 1 | 8 | OK
EF-1 | Weekdays | 6:30 | 18:00 | 5 | 57.5 | OK
HWP-1 | Weekdays | 5:00 | 18:00 | 5 | 65 | OK

## Sequences
Equipment tag | Mode | Step # | Step | Points used | Row check
AHU-1 | Occupied | 1 | Start the supply fan at the scheduled occupied start time. | P-03 | OK
AHU-1 | Occupied | 2 | Vary supply fan speed to hold duct static pressure at its setpoint. | P-02 | OK
AHU-1 | Occupied | 3 | Stage cooling and heating to hold supply air temperature at its setpoint. | P-01 | OK
AHU-1 | Unoccupied | 1 | Stop the fan. Restart it if the zone falls below its unoccupied setpoint. | P-03, P-05 | OK
AHU-1 | Morning warm-up | 1 | Run the fan with the outdoor air damper closed until the zone reaches its occupied setpoint. | P-03, P-04, P-05 | OK
AHU-1 | Safety | 1 | Stop the fan and alarm if duct static pressure goes above its high limit. | P-02, P-03 | OK
RTU-2 | Occupied | 1 | Run the unit and cycle cooling or heating to hold space temperature at its setpoint. | P-06 | OK
RTU-2 | Occupied | 2 | Open the outdoor air damper further as space CO2 rises toward its alarm limit. | P-07 | OK
RTU-2 | Unoccupied | 1 | Cycle the unit only to hold the unoccupied space setpoint. | P-06 | OK
RTU-2 | Economizer | 1 | Cool with outdoor air when it is cool enough, before mechanical cooling starts. | P-08, P-12 | OK
HWP-1 | Occupied | 1 | Run the pump and hold loop supply temperature at its setpoint. | P-10, P-11 | OK
HWP-1 | Safety | 1 | Alarm if the pump is commanded on and its status reads off. | P-11 | OK

## Dashboard
HVAC Sequence of Operations Template
Counts use complete rows only. When Rows to check is above 0, fix the rows whose Row check is not OK.
Metric | Result | How it is calculated
Equipment tagged | 4 | Rows filled in on Equipment.
Points listed | 12 | Rows filled in on Points.
Analog points (AI and AO) | 9 | Points of type AI or AO.
Points with an alarm limit | 8 | Points with a low alarm, a high alarm or both.
Setpoint conflicts | 0 | Setpoints outside their alarm band, or limits in the wrong order.
Occupied hours per week, AHU-1 | 62.5 | From Schedule, for the equipment on Equipment row 2.
Occupied hours per week, RTU-2 | 85 | From Schedule, for the equipment on Equipment row 3.
Sequence steps written | 12 | Complete rows on Sequences.
Equipment without a sequence | 1 | Tagged equipment with no complete sequence step.
Rows to check | 0 | Rows whose Row check is not OK, on all four sheets.
Data check | OK | OK when Rows to check is 0.
Free template from Field Service Software IO: browse more free field service templates →